## Test Result
ItemName Type | Process Type | Item | ItemName | Count/Count ESN | Retest%
17820 | Epix_Pro_ECG_FT | 285 | ECG impedance short | 161/576 | 27.95
17819 | Epix_Pro_FlashLight | 14 | Fixture ID lux White LED 80% before Calibration (EP47) | 128/549 | 23.32
17801 | Epix_Pro_HT | 42 | GPS_L5 by ref | 124/654 | 18.96
17802 | Epix_Pro_FT1 | 31 | GPS_ (L1 + L5) by ref | 97/637 | 15.23
17820 | Epix_Pro_ECG_FT | 293 | ECG RLD 10Hz 500mV Test | 84/576 | 14.58
17803 | Epix_Pro_FT2 | 36 | Power Box Sampling BL on normal(Avg) | 89/619 | 14.38
17812 | Epix_Pro_ProdScan_Pack | 66 | 檢查各測試站Pass紀錄¦Check Pass record in each test stations | 49/403 | 12.16
17803 | Epix_Pro_FT2 | 4 | ANT_power 2450MHz BY REF (ep47) | 70/619 | 11.31
8837 | Airtight_table | 118 | 連續斜率異常_負壓 | 64/644 | 9.94
17820 | Epix_Pro_ECG_FT | 299 | ECG 2mv 5Hz Test | 55/576 | 9.55
17812 | Epix_Pro_ProdScan_Pack | 6 | Manifest Check | 38/403 | 9.43
18307 | General_ECG_Sampling | 39 | System_noise Result | 3/32 | 9.38
17802 | Epix_Pro_FT1 | 9 | 電池電壓¦Battery Voltage | 59/637 | 9.26
8837 | Airtight_table | 126 | 壓力不足_正壓 | 56/644 | 8.7
14545 | HRM_lensLifted_Unit | 1 | RS232連線¦RS232 Connection | 42/520 | 8.08
17812 | Epix_Pro_ProdScan_Pack | 30 | Is ESN check in | 32/403 | 7.94
17803 | Epix_Pro_FT2 | 35 | ANT_power 2450MHz | 44/619 | 7.11
17812 | Epix_Pro_ProdScan_Pack | 38 | RGN version range check | 27/403 | 6.7
8837 | Airtight_table | 124 | 連續斜率異常_正壓 | 41/644 | 6.37
17820 | Epix_Pro_ECG_FT | 1 | Is ESN check in non_recheck | 35/576 | 6.08
17801 | Epix_Pro_HT | 4 | Gyro 1st校準¦Gyro 1st Calibration | 33/654 | 5.05
17810 | Epix_Pro_Compass | 13 | Compute Unit Pitch and Roll | 31/618 | 5.02
17808 | Epix_Pro_GSensor | 38 | Check ProductionMap | 30/622 | 4.82
17803 | Epix_Pro_FT2 | 247 | Manifest Event Test | 29/619 | 4.68
17801 | Epix_Pro_HT | 10 | Is ESN check in non_recheck | 29/654 | 4.43
12434 | Watch_ClickTest | 8 | Button1_Stroke | 4/91 | 4.4
17803 | Epix_Pro_FT2 | 67 | Is ESN check in | 27/619 | 4.36
17802 | Epix_Pro_FT1 | 145 | Is ESN check in non_recheck | 26/637 | 4.08
17800 | Epix_Pro_CT | 55 | Barometer Temperature non_recheck | 26/656 | 3.96
17800 | Epix_Pro_CT | 60 | GPS_ (L1 + L5) by ref for ep47 | 23/656 | 3.51
12434 | Watch_ClickTest | 17 | Button2_ClickRatio | 3/91 | 3.3
17802 | Epix_Pro_FT1 | 25 | Check ProductionMap non_recheck | 21/637 | 3.3
17810 | Epix_Pro_Compass | 4 | Is ESN check in | 20/618 | 3.24
17812 | Epix_Pro_ProdScan_Pack | 75 | Rabbit ID check | 13/403 | 3.23
18307 | General_ECG_Sampling | 81 | Check CMRR Result File Exists | 1/32 | 3.13
18307 | General_ECG_Sampling | 83 | Is ESN check in | 1/32 | 3.13
17819 | Epix_Pro_FlashLight | 6 | Check ProductionMap | 17/549 | 3.1
17807 | Epix_Pro_Gyro | 35 | Check HT Test Data | 16/519 | 3.08
16872 | Epix_Pro_47_M_B | 202 | LRA calibration | 16/527 | 3.04
17822 | Epix_Pro_ALS | 20 | Product PID | 19/639 | 2.97
17800 | Epix_Pro_CT | 47 | 電池溫度¦Battery Temperature non_recheck | 19/656 | 2.9
17886 | Epix_pro_RTESN | 9 | Is ESN check in | 19/666 | 2.85
17886 | Epix_pro_RTESN | 34 | Firmware Checksum Comparison | 19/666 | 2.85
17803 | Epix_Pro_FT2 | 17 | 外部電流(discharging)¦VEXT Current(discharging) | 17/619 | 2.75
17807 | Epix_Pro_Gyro | 8 | Check CT Test Data | 14/519 | 2.7
17807 | Epix_Pro_Gyro | 13 | Gyro Data X軸檢查 (CW #1) | 14/519 | 2.7
17886 | Epix_pro_RTESN | 75 | Check ECG 1907 IOP | 18/666 | 2.7
17819 | Epix_Pro_FlashLight | 7 | Is ESN check in | 14/549 | 2.55
17809 | Epix_Pro_Baro | 11 | 0.5 ATM diff with golden | 15/615 | 2.44
17810 | Epix_Pro_Compass | 16 | Check Unit Roll on 0 degree | 14/618 | 2.27
17808 | Epix_Pro_GSensor | 17 | Calibration | 14/622 | 2.25
17812 | Epix_Pro_ProdScan_Pack | 9 | Check Battery Voltage | 9/403 | 2.23
12434 | Watch_ClickTest | 28 | Button3_Stroke | 2/91 | 2.2
17802 | Epix_Pro_FT1 | 35 | GPS L1+L5 (OLED) Value Different (ep51-00) | 14/637 | 2.2
17801 | Epix_Pro_HT | 23 | Read Golden GPS_L5 | 14/654 | 2.14
17801 | Epix_Pro_HT | 47 | 電池溫度¦Battery Temperature non_recheck | 14/654 | 2.14
17886 | Epix_pro_RTESN | 10 | 電池電壓¦Battery Voltage | 14/666 | 2.1
17801 | Epix_Pro_HT | 8 | 電池電壓¦Battery Voltage | 13/654 | 1.99
17808 | Epix_Pro_GSensor | 36 | Is ESN check in | 12/622 | 1.93
18672 | Epix_Pro_PPG | 66 | Check ProductionMap | 11/584 | 1.88
17802 | Epix_Pro_FT1 | 5 | 充電狀態(charging)¦Charging Status(charging) | 10/637 | 1.57
17802 | Epix_Pro_FT1 | 202 | GPS L1+L5 (OLED) Value Different | 10/637 | 1.57
17800 | Epix_Pro_CT | 25 | ROM | 10/656 | 1.52
17809 | Epix_Pro_Baro | 15 | Check ProductionMap | 9/615 | 1.46
17803 | Epix_Pro_FT2 | 32 | 檔案下載測試¦(WiFi) Download Test | 9/619 | 1.45
18672 | Epix_Pro_PPG | 94 | Full Signal Path (FSP) Ch0 avg | 8/584 | 1.37
17803 | Epix_Pro_FT2 | 62 | 外部電流(反插)¦VEXT Current(Reverse) BL&OHR On - EP51 | 8/619 | 1.29
17800 | Epix_Pro_CT | 88 | Check Unit Pitch Angle (flat) | 8/656 | 1.22
17801 | Epix_Pro_HT | 68 | Check Unit Pitch Angle (flat) | 8/654 | 1.22
17886 | Epix_pro_RTESN | 64 | NFC check 檢查 | 8/666 | 1.2
16872 | Epix_Pro_47_M_B | 9 | NFC Test | 6/527 | 1.14
17803 | Epix_Pro_FT2 | 57 | BLE LESC test¦藍芽LESC測試 | 7/619 | 1.13
17810 | Epix_Pro_Compass | 11 | Heading 0 Degree | 7/618 | 1.13
12434 | Watch_ClickTest | 18 | Button2_Stroke | 1/91 | 1.1
12434 | Watch_ClickTest | 37 | Button4_ClickRatio | 1/91 | 1.1
12434 | Watch_ClickTest | 38 | Button4_Stroke | 1/91 | 1.1
12434 | Watch_ClickTest | 48 | Button5_Stroke | 1/91 | 1.1
17802 | Epix_Pro_FT1 | 201 | Check Unit Pitch Angle (flat) | 7/637 | 1.1
17810 | Epix_Pro_Compass | 70 | [Compass] -X | 6/618 | 0.97
17807 | Epix_Pro_Gyro | 36 | Check FT1 Test Data | 5/519 | 0.96
8837 | Airtight_table | 117 | 變形量絕對值超出規格_負壓 | 6/644 | 0.93
17886 | Epix_pro_RTESN | 57 | 光學心跳模組檢查¦Check OHRM LED | 6/666 | 0.9
17820 | Epix_Pro_ECG_FT | 317 | ECG 2mv 40Hz Test | 5/576 | 0.87
17803 | Epix_Pro_FT2 | 25 | 按鍵測試¦Keyboard Test | 5/619 | 0.81
17810 | Epix_Pro_Compass | 69 | [Compass] +X | 5/618 | 0.81
17810 | Epix_Pro_Compass | 71 | [Compass] +Y | 5/618 | 0.81
17807 | Epix_Pro_Gyro | 21 | Gyro平均旋轉速度 (CW #1~5) | 4/519 | 0.77
17807 | Epix_Pro_Gyro | 38 | Check FT3 Test Data | 4/519 | 0.77
17807 | Epix_Pro_Gyro | 46 | 電池電壓¦Battery Voltage | 4/519 | 0.77
16872 | Epix_Pro_47_M_B | 24 | Is ESN check in | 4/527 | 0.76
17800 | Epix_Pro_CT | 8 | 電池電壓¦Battery Voltage | 5/656 | 0.76
17800 | Epix_Pro_CT | 57 | Check Wifi Country Code | 5/656 | 0.76
17886 | Epix_pro_RTESN | 23 | GPS_L5 | 5/666 | 0.75
17886 | Epix_pro_RTESN | 33 | 手電筒紅光檢查檢查¦ Check Flashlight(Red) | 5/666 | 0.75
17886 | Epix_pro_RTESN | 58 | Baro Temperature | 5/666 | 0.75
17812 | Epix_Pro_ProdScan_Pack | 42 | 檢查PID¦Check PID | 3/403 | 0.74
17812 | Epix_Pro_ProdScan_Pack | 49 | PVT Calibration | 3/403 | 0.74
17820 | Epix_Pro_ECG_FT | 311 | ECG 2mv 2Hz Test | 4/576 | 0.69
17803 | Epix_Pro_FT2 | 7 | 電池電壓¦Battery Voltage | 4/619 | 0.65
17803 | Epix_Pro_FT2 | 38 | ANT_power 2450MHz BY REF (sapphire) | 4/619 | 0.65
17803 | Epix_Pro_FT2 | 50 | 外部電流(反插)¦VEXT Current(Reverse) BL&OHR On | 4/619 | 0.65
17810 | Epix_Pro_Compass | 12 | Check ProductionMap | 4/618 | 0.65
17810 | Epix_Pro_Compass | 36 | 電池電壓¦Battery Voltage | 4/618 | 0.65
17802 | Epix_Pro_FT1 | 30 | GPS (L1+L5) | 4/637 | 0.63
17822 | Epix_Pro_ALS | 19 | Temperature Sensor Temperature diff | 4/639 | 0.63
8837 | Airtight_table | 121 | 壓力超出規格_正壓 | 4/644 | 0.62
17800 | Epix_Pro_CT | 10 | Is ESN check in non_recheck | 4/656 | 0.61
17801 | Epix_Pro_HT | 24 | GPS (L1+L5) | 4/654 | 0.61
17886 | Epix_pro_RTESN | 51 | RAM | 4/666 | 0.6
16872 | Epix_Pro_47_M_B | 26 | Check ProductionMap | 3/527 | 0.57
17819 | Epix_Pro_FlashLight | 25 | Fixture ID lux Red LED 75% (EP47) | 3/549 | 0.55
17812 | Epix_Pro_ProdScan_Pack | 5 | Download manifest from DUT | 2/403 | 0.5
17812 | Epix_Pro_ProdScan_Pack | 91 | Check Unit Type | 2/403 | 0.5
17809 | Epix_Pro_Baro | 14 | Is ESN check in | 3/615 | 0.49
17810 | Epix_Pro_Compass | 47 | (Calculated by ITMXP) Gain 10 | 3/618 | 0.49
17810 | Epix_Pro_Compass | 72 | [Compass] -Y | 3/618 | 0.49
17808 | Epix_Pro_GSensor | 14 | Y min | 3/622 | 0.48
17808 | Epix_Pro_GSensor | 32 | Diff Z | 3/622 | 0.48
8837 | Airtight_table | 107 | INI變形量絕對值超出規格 | 3/644 | 0.47
17802 | Epix_Pro_FT1 | 130 | 006J Comparison | 3/637 | 0.47
17822 | Epix_Pro_ALS | 33 | Is ESN check in | 3/639 | 0.47
17800 | Epix_Pro_CT | 44 | Beidou | 3/656 | 0.46
17801 | Epix_Pro_HT | 9 | Check ProductionMap non_recheck | 3/654 | 0.46
17886 | Epix_pro_RTESN | 25 | Glonass_65 | 3/666 | 0.45
17886 | Epix_pro_RTESN | 67 | 畫面檢查 | 3/666 | 0.45
17807 | Epix_Pro_Gyro | 30 | Gyro平均旋轉速度 (CCW #1~5) | 2/519 | 0.39
16872 | Epix_Pro_47_M_B | 6 | NFC Initialization | 2/527 | 0.38
16872 | Epix_Pro_47_M_B | 203 | Check Vibration Frequency_ FFT(From DAQ) | 2/527 | 0.38
16872 | Epix_Pro_47_M_B | 213 | Beeper Loudness Difference with Golden | 2/527 | 0.38
17819 | Epix_Pro_FlashLight | 9 | Set White Scaling Factor 100% | 2/549 | 0.36
17820 | Epix_Pro_ECG_FT | 287 | UART連線com2¦UART Connection | 2/576 | 0.35
18672 | Epix_Pro_PPG | 11 | Get Value From FPC ATE Inner green LED brightness AVE | 2/584 | 0.34
17809 | Epix_Pro_Baro | 10 | Get Golden Unit Pressure | 2/615 | 0.33
17803 | Epix_Pro_FT2 | 28 | 與 AP 連線¦(WiFi) Access AP | 2/619 | 0.32
17803 | Epix_Pro_FT2 | 66 | Check ProductionMap | 2/619 | 0.32
17803 | Epix_Pro_FT2 | 203 | Power Box Sampling BL on normal(Avg) diff with ATE | 2/619 | 0.32
17808 | Epix_Pro_GSensor | 8 | X max | 2/622 | 0.32
17808 | Epix_Pro_GSensor | 37 | 電池電壓¦Battery Voltage | 2/622 | 0.32
17808 | Epix_Pro_GSensor | 45 | Negative Y Heading | 2/622 | 0.32
17808 | Epix_Pro_GSensor | 48 | Positive X Heading | 2/622 | 0.32
17810 | Epix_Pro_Compass | 5 | [Compass]Vector Error | 2/618 | 0.32
17810 | Epix_Pro_Compass | 14 | Check Unit Pitch on 45 degree | 2/618 | 0.32
17810 | Epix_Pro_Compass | 15 | Heading 45 Degree | 2/618 | 0.32
17810 | Epix_Pro_Compass | 45 | (Calculated by ITMXP) Gain 01 | 2/618 | 0.32
17810 | Epix_Pro_Compass | 74 | [Compass] -Z | 2/618 | 0.32
8837 | Airtight_table | 129 | 變形量絕對值超出規格_常壓 | 2/644 | 0.31
17801 | Epix_Pro_HT | 53 | Gyro靜止測試X¦Gyro Stationary Test X | 2/654 | 0.31
17800 | Epix_Pro_CT | 9 | Check ProductionMap non_recheck | 2/656 | 0.3
17886 | Epix_pro_RTESN | 22 | GPS (L1+L5) | 2/666 | 0.3
17886 | Epix_pro_RTESN | 26 | Glonass_72 | 2/666 | 0.3
17886 | Epix_pro_RTESN | 27 | Glonass_78 | 2/666 | 0.3
17812 | Epix_Pro_ProdScan_Pack | 11 | WIFI MAC | 1/403 | 0.25
17812 | Epix_Pro_ProdScan_Pack | 69 | CPLC Start | 1/403 | 0.25
16872 | Epix_Pro_47_M_B | 204 | Gop | 1/527 | 0.19
17807 | Epix_Pro_Gyro | 23 | Gyro Data Y軸檢查 (CCW #1) | 1/519 | 0.19
17807 | Epix_Pro_Gyro | 44 | Is ESN check in | 1/519 | 0.19
17820 | Epix_Pro_ECG_FT | 6 | Check ProductionMap non_recheck | 1/576 | 0.17
17820 | Epix_Pro_ECG_FT | 291 | USB Connection (2) | 1/576 | 0.17
17820 | Epix_Pro_ECG_FT | 319 | WF_geneator Connection (6) | 1/576 | 0.17
18672 | Epix_Pro_PPG | 67 | Is ESN check in | 1/584 | 0.17
18672 | Epix_Pro_PPG | 191 | Set CTR | 1/584 | 0.17
8837 | Airtight_table | 123 | 變形量絕對值超出規格_正壓 | 1/644 | 0.16
17802 | Epix_Pro_FT1 | 26 | Get ILP | 1/637 | 0.16
17803 | Epix_Pro_FT2 | 1 | 充電狀態(discharging)¦Charging Status(discharging) | 1/619 | 0.16
17803 | Epix_Pro_FT2 | 24 | 畫面檢查¦Display check | 1/619 | 0.16
17803 | Epix_Pro_FT2 | 52 | Send and get union pay id | 1/619 | 0.16
17808 | Epix_Pro_GSensor | 6 | Z min | 1/622 | 0.16
17808 | Epix_Pro_GSensor | 12 | Z max | 1/622 | 0.16
17808 | Epix_Pro_GSensor | 16 | X min | 1/622 | 0.16
17808 | Epix_Pro_GSensor | 41 | Negative X Heading | 1/622 | 0.16
17809 | Epix_Pro_Baro | 7 | 1 ATM diff with golden | 1/615 | 0.16
17810 | Epix_Pro_Compass | 19 | Heading 90 Degree | 1/618 | 0.16
17810 | Epix_Pro_Compass | 21 | (Compare UUT with ITMXP) Gain 00 | 1/618 | 0.16
17810 | Epix_Pro_Compass | 23 | Heading 135 Degree | 1/618 | 0.16
17810 | Epix_Pro_Compass | 73 | [Compass] +Z | 1/618 | 0.16
17822 | Epix_Pro_ALS | 7 | ALS Luminance (WLED ON) | 1/639 | 0.16
17800 | Epix_Pro_CT | 74 | Galileo | 1/656 | 0.15
17801 | Epix_Pro_HT | 45 | RAM | 1/654 | 0.15
17801 | Epix_Pro_HT | 56 | G-Sensor BIST Overall | 1/654 | 0.15
17801 | Epix_Pro_HT | 60 | M-Sensor BIST Overall | 1/654 | 0.15
17801 | Epix_Pro_HT | 127 | Compare BT Address | 1/654 | 0.15
17886 | Epix_pro_RTESN | 6 | 手電筒白光檢查檢查¦ Check Flashlight(White) | 1/666 | 0.15
17886 | Epix_pro_RTESN | 7 | Compare WiFi Address | 1/666 | 0.15
17886 | Epix_pro_RTESN | 21 | Start Read CN(L1+L5) | 1/666 | 0.15
17886 | Epix_pro_RTESN | 24 | Beidou | 1/666 | 0.15
17886 | Epix_pro_RTESN | 46 | HW ID | 1/666 | 0.15
17886 | Epix_pro_RTESN | 53 | Sensor Hub RAM Test | 1/666 | 0.15
17886 | Epix_pro_RTESN | 66 | 檢查是否可以觸控 | 1/666 | 0.15
14060 | HRM_LensLiftedInspection | 1 | Check ProductionMap | 0/12 | 0
18547 | Epix_Pro_MultiUpdater | 4 | USB 連線¦USB Connection | 19/739 | 2.57
18547 | Epix_Pro_MultiUpdater | 26 | Check Boot Block | 8/739 | 1.08
18547 | Epix_Pro_MultiUpdater | 6 | Is ESN check in | 7/739 | 0.95
18547 | Epix_Pro_MultiUpdater | 9 | Check PRNP status | 7/739 | 0.95
18547 | Epix_Pro_MultiUpdater | 5 | MultiUpdater USB Update | 2/739 | 0.27
18547 | Epix_Pro_MultiUpdater | 14 | 006J Comparison | 2/739 | 0.27
18547 | Epix_Pro_MultiUpdater | 12 | Upload WiFi Address | 1/739 | 0.14
17798 | Epix_Pro_AutoATE | 28 | 蜂鳴器V28¦Beeper V28P0 | 34/738 | 4.61
17798 | Epix_Pro_AutoATE | 103 | GALILEO 1 | 22/738 | 2.98
17798 | Epix_Pro_AutoATE | 44 | 檢查PID¦Check PID | 15/738 | 2.03
17798 | Epix_Pro_AutoATE | 7 | BAT4.45V開機電流¦BAT4.45V startup current | 14/738 | 1.9
17798 | Epix_Pro_AutoATE | 6 | BAT3.3V開機電流¦BAT3.3V startup current | 13/738 | 1.76
17798 | Epix_Pro_AutoATE | 50 | Upload ESN | 13/738 | 1.76
17798 | Epix_Pro_AutoATE | 152 | Low Power Mode Current (AVR) | 13/738 | 1.76
17798 | Epix_Pro_AutoATE | 71 | Conducted GPS Sensitivity C/No L5 | 12/738 | 1.63
17798 | Epix_Pro_AutoATE | 22 | USB連線(1)¦USB Connection(1) | 11/738 | 1.49
17798 | Epix_Pro_AutoATE | 3 | Is ESN check in | 10/738 | 1.36
17798 | Epix_Pro_AutoATE | 92 | 測試模式¦Test Mode Event | 10/738 | 1.36
17798 | Epix_Pro_AutoATE | 58 | VCI_DISP | 9/738 | 1.22
17798 | Epix_Pro_AutoATE | 77 | 手電筒白光電壓100%¦Flashlight White voltage 100% | 9/738 | 1.22
17798 | Epix_Pro_AutoATE | 193 | External LPM Current | 7/738 | 0.95
17798 | Epix_Pro_AutoATE | 36 | Keypad Start | 6/738 | 0.81
17798 | Epix_Pro_AutoATE | 60 | Average Battery Current in Test Mode with GPS and Backlight active_Normal | 5/738 | 0.68
17798 | Epix_Pro_AutoATE | 148 | 關閉wifi ¦ Turn off wifi | 5/738 | 0.68
17798 | Epix_Pro_AutoATE | 23 | 手電筒白光電壓100%¦Flashlight White voltage 100%(dual band) | 4/738 | 0.54
17798 | Epix_Pro_AutoATE | 30 | Vibration Motor Driver Current when Enabled(47&51mm) | 4/738 | 0.54
17798 | Epix_Pro_AutoATE | 35 | Keypad Down | 4/738 | 0.54
17798 | Epix_Pro_AutoATE | 65 | 下載WiFi條碼¦Download WiFi Address | 4/738 | 0.54
17798 | Epix_Pro_AutoATE | 93 | Check Boot Block | 4/738 | 0.54
17798 | Epix_Pro_AutoATE | 4 | FID | 3/738 | 0.41
17798 | Epix_Pro_AutoATE | 34 | Keypad Back | 3/738 | 0.41
17798 | Epix_Pro_AutoATE | 49 | IC Status | 3/738 | 0.41
17798 | Epix_Pro_AutoATE | 24 | VAFE | 2/738 | 0.27
17798 | Epix_Pro_AutoATE | 39 | 電池溫度¦Battery Temperature | 2/738 | 0.27
17798 | Epix_Pro_AutoATE | 116 | NFC Initialization | 2/738 | 0.27
17798 | Epix_Pro_AutoATE | 197 | Keypad Up_long | 2/738 | 0.27
17798 | Epix_Pro_AutoATE | 33 | Keypad Up | 1/738 | 0.14
17798 | Epix_Pro_AutoATE | 55 | VCCK | 1/738 | 0.14
17798 | Epix_Pro_AutoATE | 57 | G0P7 | 1/738 | 0.14
17798 | Epix_Pro_AutoATE | 66 | Upload BT Address | 1/738 | 0.14
17798 | Epix_Pro_AutoATE | 88 | ROM | 1/738 | 0.14
17798 | Epix_Pro_AutoATE | 117 | NFC CRS Check | 1/738 | 0.14
17859 | Epix_Pro_ATE_TI | 41 | Barometer Temperature | 89/765 | 11.63
17859 | Epix_Pro_ATE_TI | 88 | AFE Power Consumption data | 57/765 | 7.45
17859 | Epix_Pro_ATE_TI | 4 | USB Connection 1 | 7/765 | 0.92
17859 | Epix_Pro_ATE_TI | 34 | AFE Power Consumption Test | 7/765 | 0.92
17859 | Epix_Pro_ATE_TI | 69 | D102 PD dark noise OHR dev | 5/765 | 0.65
17859 | Epix_Pro_ATE_TI | 53 | D105 – 540nm Brightness (20mA) Measure diff with V_ref | 4/765 | 0.52
17859 | Epix_Pro_ATE_TI | 71 | D104 PD dark noise OHR dev | 3/765 | 0.39
17859 | Epix_Pro_ATE_TI | 77 | D110 – 630nm Brightness (20mA) Measure diff with V_ref | 3/765 | 0.39
17859 | Epix_Pro_ATE_TI | 58 | D107 – 540nm Brightness (20mA) Measure diff with V_ref | 2/765 | 0.26
17859 | Epix_Pro_ATE_TI | 60 | D101 PD dark noise SpO2 dev | 2/765 | 0.26
17859 | Epix_Pro_ATE_TI | 68 | D101 PD dark noise OHR dev | 2/765 | 0.26
17859 | Epix_Pro_ATE_TI | 70 | D103 PD dark noise OHR dev | 2/765 | 0.26
17859 | Epix_Pro_ATE_TI | 87 | Is ESN check in | 2/765 | 0.26
17859 | Epix_Pro_ATE_TI | 3 | Fixture ID | 1/765 | 0.13
17859 | Epix_Pro_ATE_TI | 55 | D106 – 540nm Brightness (20mA) Measure diff with V_ref | 1/765 | 0.13
17859 | Epix_Pro_ATE_TI | 86 | UART連線¦UART Connection | 1/765 | 0.13
17858 | Epix_Pro_ECG_ATE | 71 | ECG 2mV 0.4 Hz Test | 19/767 | 2.48
17858 | Epix_Pro_ECG_ATE | 20 | ECG 2mv 5Hz Test | 13/767 | 1.69
17858 | Epix_Pro_ECG_ATE | 30 | Motor Resonant Frequency | 13/767 | 1.69
17858 | Epix_Pro_ECG_ATE | 15 | Check 1907IOP | 5/767 | 0.65
17858 | Epix_Pro_ECG_ATE | 3 | UART連線com2¦UART Connection | 3/767 | 0.39
17858 | Epix_Pro_ECG_ATE | 9 | Is ESN check in | 3/767 | 0.39
17858 | Epix_Pro_ECG_ATE | 2 | UART連線com1¦UART Connection | 2/767 | 0.26
17858 | Epix_Pro_ECG_ATE | 27 | ECG 2mv 1Hz Test | 2/767 | 0.26
17858 | Epix_Pro_ECG_ATE | 16 | WF_geneator Connection (2) | 1/767 | 0.13
17858 | Epix_Pro_ECG_ATE | 59 | ECG 2mv 2Hz Test | 1/767 | 0.13
17858 | Epix_Pro_ECG_ATE | 65 | ECG 2mv 40Hz Test | 1/767 | 0.13